## Slide 1: Upgrading Data Center Network Further

## Slide 2: Outline
Upgrading data center network with higher speed
  Optical network links: OSA
Serving Internet users
  Cloud-scale load balancing: Ananta

## Slide 3: OSA: An Optical Switching Architecture for Data Center Networks with Unprecedented Flexibility

## Slide 4: Review on Issues on DCN
Aggregation
switch
(ToR switch)
Top-of-Rack
Core
switch
1:1
A DCN structure adapted from Cisco
1:5 ~ 1:20
1:240
Serious communication bottleneck!
Considerations:
Bandwidth
Wiring complexity
Power consumption
Network cost
…
Efficient DCN architecture is desirable, but challenging

## Slide 5: Discussed Efforts and Their Limitations
All-electrical
(static)
Fattree, BCube,
VL2, PortLand
[SIGCOMM’08 ’09]
Fattree
BCube
Static over-provisioning
CLUE
High bandwidth, but
high wiring complexity,
high power, high cost

## Slide 6: Recent Efforts and Their Limitations
Hybrid
electrical/optical
(semi-flexible)
Fattree, BCube,
VL2, PortLand
[SIGCOMM’08 ’09]
c-Through, Helios
[SIGCOMM’10]
c-Through
Optical links
Conventional electrical network
All-electrical
(static)
Limited flexibility
Reduced complexity,
power and cost, but
insufficient bandwidth
High bandwidth, but
high wiring complexity,
high power, high cost

## Slide 7
Data Center Traffic
7
[IMC’09][HotNets’09]: only a few ToRs are hot and most of their traffic go to a few other ToRs
  [SIGCOMM’09]: over 90% bytes in elephant flows
[IMC’10]: traffic at ToRs exhibits an ON/OFF pattern
[WREN’10]: 60% ToRs see less than 20% change in traffic volume for between 1.6-2.2 seconds
Static over-provisioning (i.e., full bandwidth btw all servers at all times) is a waste of resource!
[ICDCS’12]: a production DCN traffic shows stability even on a hourly time scale

## Slide 8: OSA
Hybrid
electrical/optical
(semi-flexible)
All-optical
(high-flexible)
Fattree, BCube,
VL2, PortLand
[SIGCOMM’08 ’09]
c-Through, Helios
[SIGCOMM’10]
OSA
High bandwidth, and
low wiring complexity,
low power, low cost
All-electrical
(static)
High bandwidth, but
high wiring complexity,
high power, high cost
Reduced complexity,
power and cost, but
insufficient bandwidth
Insight behind OSA:
Data center traffic exhibits regionality and some stability [IMC’09] [WREN’09] [HotNets’09][IMC’10] [SIGCOMM’11][ICDCS’12]
 flexibly arranging bandwidth to where it is needed, instead of static over-provisioning!

## Slide 9: OSA’s Flexibility: An Example
A
B
C
D
E
F
G
H
Change topology
Change
link capacity
10
20
Traffic demand
Demand change
A | G | 10
B | H | 10
C | E | 10
D | F | 10
B | D | 10
C | F | 10
A | G | 10
B | H | 10
C | E | 10
F | G | 20
B | D | 10
C | F | 10
C
F
A
E
H
D
B
G
G
C
F
A
D
E
B
H
0
Direct link for real demand
High capacity link for increased demand
OSA can dynamically change its ToR topology and link capacity to adapt to the real demand, thus delivering high bandwidth without static over-provisioning!

## Slide 10: Outline
Background and high-level idea
How OSA achieves high flexibility?
OSA architecture and optimization
Implementation and Evaluation
Summary

## Slide 11: How OSA Achieves Such Flexibility?
imaging lens
fiber
MEMS
mirror
reflector
MEMS
Micro-Electro-Mechanical Switch
N
N
MEMS
A
B
C
D
A
D
B
C
A
D
C
B
Flexible topology
Fixed degree
N × N

## Slide 12: How OSA Achieves Such Flexibility?
imaging lens
fiber
MEMS
mirror
reflector
MEMS
Micro-Electro-Mechanical Switch
N
N
MEMS
A
B
C
D
A
D
B
C
A
D
C
B
Input
Output 1
Output 2
Output k
WSS
Wavelengths
WSS
1 × k
Wavelength Selective Switch
Fixed degree
Flexible topology
N × N

## Slide 13: How OSA Achieves Such Flexibility?
imaging lens
fiber
MEMS
mirror
reflector
MEMS
Micro-Electro-Mechanical Switch
N
N
MEMS
A
B
C
D
A
D
B
C
A
D
C
B
WSS
1 × k
Wavelength Selective Switch
A
B
D
WSS
A
B
D
C
A
C
Flexible link capacity
Fixed node capacity
Flexible topology
Wavelength uniqueness
N × N
Fixed degree
100 Terabits X 1
Optical fiber
C
Send
Receive
bidirectional
WDM (DE)MUX
Circulator
MUX
DEMUX
32 port
32 port
Coupler
Coupler
4 port
Common features:
Support high bit-rate, high capacity
Power-efficient
Small and compact (except MEMS)
Other optical devices:

## Slide 14
Circuit Switch vs Packet Switch
14
Electrical Packet Switch(10G)
store and forward
500$/port
10Gb/s fixed rate
12.5W/port
per-packet switching
Optical Circuit Switch
circuit switching
500$/port
rate free
0.24mW/port
~10ms circuit switching latency

## Slide 15
Cost and Power
15

## Slide 16: OSA Architecture Overview
Send part
(MEMS 320 ports)
Receive part
Top-of-Rack switch

## Slide 17
Data Sending
17
(MEMS 320 ports)

## Slide 18
Data Receiving
18
(MEMS 320 ports)

## Slide 19: OSA Architecture Overview
(MEMS 320 ports)
MEMS (320 ports)
ToR
WSS
ToR
WSS
ToR
WSS
…
k
At its core
Each link can have flexible capacity
Each ToR can connect to any k other ToRs
A
B
C
D
E
F
G
H
G
C
F
A
D
E
B
H
G
C
F
A
D
E
B
H
OSA can arrange any k-regular topology with flexible link capacity among the ToRs!

## Slide 20: OSA Architecture Overview
(MEMS 320 ports)
MEMS (320 ports)
ToR
WSS
ToR
WSS
ToR
WSS
…
k
At its core
Two notes about OSA:
1. Multi-hop routing for indirect ToRs
2. OSA is container-sized DCN for now

## Slide 21: Control Plane: Logically Centralized
Topology
Link capacity
Routing
OSA Manager
(MEMS 320 ports)
Optimize the network to better serve the traffic

## Slide 22: Optimization Procedure in OSA Manager
1. Estimate traffic demand between ToRs
2. Assign direct link to heavy communication ToR pairs
OSA Manager
Maximum k-matching
Hedera [NSDI’10]

## Slide 23: Maximum K-matching for Direct Links Setup
ToR traffic demand
 | A | B | C | D | E | F | G | H
A | -- | 3 | 0 | 5 | 2 | 0 | 0 | 1
B | 3 | -- | 4 | 0 | 0 | 3 | 0 | 1
C | 0 | 4 | -- | 2 | 1 | 1 | 4 | 1
D | 5 | 0 | 2 | -- | 1 | 0 | 1 | 3
E | 2 | 0 | 1 | 1 | -- | 4 | 0 | 4
F | 0 | 3 | 1 | 0 | 4 | -- | 3 | 0
G | 0 | 0 | 4 | 1 | 0 | 3 | -- | 3
H | 1 | 1 | 1 | 3 | 4 | 0 | 3 | --
[1] J. Edmonds, “Paths, trees and flowers”, Canad. J. of Math., 1965
 | A | B | C | D | E | F | G | H
A | -- | 3 | 0 | 5 | 2 | 0 | 0 | 1
B | 3 | -- | 4 | 0 | 0 | 3 | 0 | 1
C | 0 | 4 | -- | 2 | 1 | 1 | 4 | 1
D | 5 | 0 | 2 | -- | 1 | 0 | 1 | 3
E | 2 | 0 | 1 | 1 | -- | 4 | 0 | 4
F | 0 | 3 | 1 | 0 | 4 | -- | 3 | 0
G | 0 | 0 | 4 | 1 | 0 | 3 | -- | 3
H | 1 | 1 | 1 | 3 | 4 | 0 | 3 | --
A
B
C
D
E
F
G
H
A
E
D
F
H
C
B
G
A
E
D
F
H
C
B
G
3
5
2
1
4
3
2
1
1
4
1
1
1
3
4
4
3
3
Maximum
weighted 3-matching
Edmonds’ algorithm[1]
ToR demand graph
ToR connection graph

## Slide 24: Optimization Procedure in OSA Manager
1. Estimate traffic demand between ToRs
2. Assign direct link to heavy communication ToR pairs
3. Compute the routing paths
5. Assign wavelengths to provision the link bandwidth
OSA Manager
4. Compute the traffic demand on each link
Maximum k-matching
Edge-coloring theory
Shortest path routing
Hedera [NSDI’10]

## Slide 25: Edge-coloring for Wavelength Assignment
A
B
C
D
E
F
G
H
4
3
3
Wavelength assignment:
A wavelength cannot be associated with a ToR twice
Edge-coloring:
A color cannot be associated with a node twice
Vizing’s theorem[2]
[2] J. Misra, et. al., “A constructive proof of Vizing’s Theorem,” Inf. Process. Lett., 1992.
3
5
2
4
2
4
3
4
3
Expected wavelength graph
A
B
C
D
E
F
G
H
Multigraph based on # of wavelengths
E.g., from F’s perspective

## Slide 26: Optimization Procedure in OSA Manager
1. Estimate traffic demand between ToRs
2. Assign direct link to heavy communication ToR pairs
3. Compute the routing paths
5. Assign wavelengths to provision the link bandwidth
OSA Manager
4. Compute the traffic demand on each link
Topology, MEMS
Routing, ToR
Link capacity, WSS

## Slide 27: Prototype Implementation
MEMS
WSS
1 MEMS (32 ports: 16×16)
8 WSS units (1×4 ports)
8 ToRs* and 32 servers
*Server-emulated ToR
Chart: Communication patterns
| 1 | 2 | 3 | 4 | 5 | 6 | 7
Theoretical | 1 | 1 | 1 | 1 | 0.82 | 0.66 | 0.6
OSA | 0.97 | 0.97 | 0.97 | 0.96 | 0.79 | 0.63 | 0.59
Theoretical curve
Experiment curve
Experiment results strictly follow the expectation:
Demonstrate the feasibility of the OSA design!

## Slide 28: Simulation Results (2560 servers*)
Chart: Traffic patterns
| Realistic | Synthetic | ToR-shifting | Server-shifting
Fattree/Non-blocking | 1 | 1 | 1 | 1
OSA | 0.85 | 0.9 | 0.99 | 0.81
Hybrid | 0.22 | 0.29 | 0.28 | 0.27
85%
90%
~100%
80%
3.86X
3.1X
3.54X
3X
OSA can be close to non-blocking
*80 ToRs (each with 32 servers) form a 4-regular graph for OSA.
OSA is significantly better than hybrid
Demonstrate the high-performance of the OSA design!

## Slide 29
Multi-hop Routing
29
(MEMS 320 ports)
O-E-O
Sub-nanosecond

## Slide 30
The effect of dynamic topology and link capacity
30

## Slide 31
The effect of reconfiguration
31

## Slide 32: Cost, Power & Wiring (2560 Servers)
Chart: 
| OSA | Hybrid | Fattree
Cost (million $) | 4.6 | 4.6 | 14.6
Chart: Power (KW)
| OSA | Hybrid | Fattree
Power(KW) | 73 | 78 | 196
Chart: Wiring (#)
| OSA | Hybrid | Fattree
Wiring | 320 | 480 | 5120
Demonstrate OSA can potentially deliver high bandwidth in a simple, power-efficient and cost-effective way!
OSA is slightly better than hybrid
OSA is significantly better than Fattree

## Slide 33: Summary
OSA is inspired by traffic regionality and stability
Sweet spot for performance, cost, power, and wiring complexity
Caveats: not intended for all-to-all, non-stable traffic
Acknowledgement: CoAdna Photonics (WSS) and Polatis (MEMS)
Static, “fat”
Flexible, “thin”
Fattree
Hybrid
OSA
 | Performance | Complexity | Power | Cost
Fattree | √ | X | X | X
Hybrid | X | √ | √ | √
OSA | √ | √ | √ | √

## Slide 34: Ananta: Cloud-Scale Load Balancing

## Slide 35: Windows Azure - Some Stats
More than 50% of Fortune 500 companies using Azure
Nearly 1000 customers signing up every day
Hundreds of thousands of servers
Doubling compute and storage capacity every 6-9 months
Azure Storage is Massive – over 4 trillion objects stored
Global CDN
Global datacenters
Notes: It works, and it’s huge
Stats released in April
Sites, numbers fast growth … quite stale

## Slide 36: Ananta in a nutshell
Is NOT hardware load balancer code running on commodity hardware
Is distributed, scalable architecture for Layer-4 load balancing and NAT
Has been in production in Bing and Azure for three years serving multiple Tbps of traffic
Key benefits
  Scale on demand, higher reliability, lower cost, flexibility to innovate

## Slide 37
How are load balancing and NAT used in Azure?

## Slide 38: Background: Inbound VIP communication
Terminology:
VIP – Virtual IP
DIP – Direct IP
Front-end
VM
LB
Front-end
VM
Front-end
VM
Internet
DIP = 10.0.1.1
DIP = 10.0.1.2
DIP = 10.0.1.3
LB load balances and
NATs VIP traffic to DIPs
Client  VIP
Client  DIP
VIP = 1.2.3.4
Notes: Same things happen between the front-end and back-end

## Slide 39: Background: Outbound (SNAT) VIP communication
Front-end
VM
LB
Back-end
VM
DIP = 10.0.1.1
DIP = 10.0.1.20
Front-end
VM
LB
Front-end
VM
Front-end
VM
DIP = 10.0.2.1
DIP = 10.0.2.2
DIP = 10.0.2.3
Service 1
Service 2
Datacenter
Network
1.2.3.4  5.6.7.8
DIP  5.6.7.8
VIP1  DIP
VIP1 = 1.2.3.4
VIP2 = 5.6.7.8

## Slide 40: VIP traffic in a data center
Chart: 
| DIP Traffic | VIP Traffic
Total Traffic | 0.56 | 0.44
Chart: VIP Traffic
| Intra-DC | Inter-DC | Internet
VIP Traffic | 0.7 | 0.16 | 0.14
Chart: VIP Traffic
| Inbound | Outbound
VIP Traffic | 0.5 | 0.5
Notes: - This is just the current usage. In reality, we expect the intra-DC VIP traffic to increase faster and that is what we have provisioned for.

## Slide 41
Why does Azure need another load balancer?

## Slide 42: Traditional LB/NAT design does not meet cloud requirements
Requirement | Details | State-of-the-art
Scale | Throughput: ~40 Tbps using 400 servers (1% of Data center scale) 100Gbps for a single VIP Configure 1000s of VIPs in seconds in the event of a disaster | 20Gbps for $80,000 Up to 20Gbps per VIP One VIP/sec configuration rate
Reliability | N+1 redundancy Quick failover | 1+1 redundancy (active+standby) or slow failover
Any service anywhere | Servers and LB/NAT are placed across L2 boundaries for scalability and flexibility | NAT and Direct Server Return (DSR) supported only in the same L2

## Slide 43: Key idea: decompose and distribute functionality
VM Switch
VMN
Host Agent
VM1
. . .
VM Switch
VMN
Host Agent
VM1
. . .
Controller
Controller
Ananta
Manager
VIP Configuration:
VIP, ports, # DIPs
Multiplexer
Multiplexer
Multiplexer
. . .
VM Switch
VMN
Host Agent
VM1
. . .
. . .
Software router
(Needs to scale to Internet bandwidth)
Hosts
(Scales naturally with
# of servers)
Notes: - High-level design SLBM, Mux and HP

## Slide 44: Ananta: data plane
2nd Tier: Provides connection-level (layer-4) load spreading, implemented in servers.
1st Tier: Provides packet-level (layer-3) load spreading, implemented in routers via ECMP.
3rd Tier: Provides stateful NAT implemented in the virtual switch in every server.
Multiplexer
Multiplexer
Multiplexer
. . .
VM Switch
VMN
Host Agent
VM1
. . .
VM Switch
VMN
Host Agent
VM1
. . .
VM Switch
VMN
Host Agent
VM1
. . .
. . .

## Slide 45: Inbound connections
Router
Router
MUX
Host
MUX
Router
MUX
…
Host Agent
1
2
3
VM
DIP
4
5
6
7
8
Dest:
VIP
Src:
Client
Packet
Headers
Dest:
VIP
Dest:
DIP
Src:
Mux
Src:
Client
Dest:
Client
Src:
VIP
Packet
Headers
Client

## Slide 46: Outbound (SNAT) connections
Packet
Headers
Dest:
Server:80
Src:
VIP:1025
VIP:1025  DIP2
Server
Dest:
Server:80
Src:
DIP2:5555
Notes: - Show packet formats

## Slide 47: Managing latency for SNAT
Batching
  Ports allocated in slots of 8 ports
Pre-allocation
  160 ports per VM
Less than 1% of outbound connections ever hit Ananta Manager

## Slide 48: SNAT Latency

## Slide 49: Fastpath: forward traffic
Host
MUX
MUX
MUX1
VM
…
Host Agent
1
DIP1
MUX
MUX
MUX2
2
Host
VM
…
Host Agent
DIP2
Data Packets
Destination
VIP1
VIP2
SYN
Notes: - Show packet formats

## Slide 50: Fastpath: return traffic
Host
MUX
MUX
MUX1
VM
…
Host Agent
1
DIP1
4
MUX
MUX
MUX2
2
3
Host
VM
…
Host Agent
DIP2
Data Packets
Destination
VIP1
VIP2
SYN
SYN-ACK
Notes: - Show packet formats

## Slide 51: Fastpath: redirect packets
Host
MUX
MUX
MUX1
VM
…
Host Agent
DIP1
6
7
MUX
MUX
MUX2
Host
VM
…
Host Agent
DIP2
7
Redirect Packets
Destination
VIP1
VIP2
ACK
Data Packets
5
Notes: - Show packet formats

## Slide 52: Fastpath: low latency and high bandwidth for intra-DC traffic
Host
MUX
MUX
MUX1
VM
…
Host Agent
DIP1
MUX
MUX
MUX2
8
Host
VM
…
Host Agent
DIP2
Redirect Packets
Data Packets
Destination
VIP1
VIP2
Notes: - Show packet formats

## Slide 53: Impact of Fastpath on Mux and Host CPU
Chart: % CPU
| Host | Mux
No Fastpath | 10 | 55
Fastpath | 13 | 2

## Slide 54: Overall availability

## Slide 55: CPU distribution

## Slide 56: Lessons learnt
Centralized controllers work
  There are significant challenges in doing per-flow processing, e.g., SNAT
  Provide overall higher reliability and easier to manage system
Colocation of control plane and data plane provides faster local recovery
  Fate sharing eliminates the need for a separate, highly-available management channel
Protocol semantics are violated on the Internet
  Bugs in external code forced us to change network MTU
Owning our own software has been a key enabler for:
  Faster turn-around on bugs, DoS detection, flexibility to design new features
  Better monitoring and management

## Slide 57: Summary
Upgrading data network network is a continuous process
  Latest technologies are being adopted
Optical networking technology offers one alternative
  Pros: Low cost, high flexibility
  Cons: Circuit switching (instead of packet switching), medium-sized data centers
Scaling is needed everywhere
  Software techniques for load balancing
  Distribute the load among servers (host agents in Ananta)
    Another form of server-centric design
    Still scale out (but not scale up)
    Scale with the number of servers